## EndoscopicEarSurgery_DATA_09-Ma
record_id | redcap_survey_identifier | survey_1_endoscopic_ear_surgery_needs_assessment_timestamp | percent_of_totally_ees | Percent of TEES Surgeries | instrument set | Instrument Set | Bleeding Control | Reaching Structures | Cutting Bone | Keeping the Lens Clean | Positioning a Graft | Dissection and Removal of Cholesteatoma | instruments | survey_1_endoscopic_ear_surgery_needs_assessment_complete
18 |  |  | 1 | 0 | 2 | No | 50 | 50 | 50 | 50 | 50 | 50 |  | 2 | Percent of TEES surgeries: | catergory | count: |  | Instrument Set |  | count:
19 |  |  | 1 | 0 | 2 | No | 8 | 86 | 52 | 11 | 49 | 51 |  | 2 | 1 | 0% | 0 |  | 1 | Yes | 14
34 |  |  | 1 | 0 | 1 | Yes | 92 | 92 | 50 | 90 | 50 | 90 | Instruments with working angles that can be adjusted. |  | 2 | Up to 50% | 8 |  | 2 | No | 2
44 |  | 2017-07-24 03:50 | 1 | 0 | 1 | Yes | 53 | 75 | 51 | 50 | 49 | 47 | The flexible joint made by stors to fix endoscope allowing biannual work is useful. However it is thick, I think it need to be thinned out. | 2 | 3 | 50%-90% | 5
2 |  | 2017-04-21 17:47 | 3 | 50%-90% | 1 | Yes | 53 | 83 | 62 | 72 | 93 | 100 |  | 2 | 4 | More than 90% | 3
7 |  | 2017-04-27 10:57 | 3 | 50%-90% | 1 | Yes | 83 | 93 | 69 | 50 | 57 | 69 | Suction elevators, should be able to control the amount of suction | 2
8 |  | 2017-04-27 13:23 | 3 | 50%-90% | 1 | Yes | 58 | 40 | 70 | 67 | 56 | 41 |  | 2
11 |  | 2017-04-28 10:01 | 3 | 50%-90% | 2 | No | 24 | 98 | 77 | 41 | 69 | 84 | Angled shaft instruments to keep hands from bumping into each other | 2
15 |  | 2017-05-01 13:21 | 3 | 50%-90% | 1 | Yes | 50 | 85 | 50 | 35 | 36 | 81 |  | 2
20 |  |  | 3 | 50%-90% | 1 | Yes | 50 | 100 | 50 | 50 | 0 | 100 | More specialised instruments for coagulations. - More specialised instruments for single handed drilling means drilling irrigation and suction in the same time. |  |  | Results:
22 |  |  | 3 | 50%-90% | 1 | Yes | 68 | 88 | 41 | 10 | 49 | 91 |  |  |  | no sig difference between TEES percentage and any of the difficulties - when alpha = 10% and 5%
23 |  |  | 3 | 50%-90% | 1 | Yes | 84 | 100 | 52 | 89 | 50 | 65 | Endoscope holder that can be possible two hand surgery when necessary
24 |  |  | 3 | 50%-90% | 1 | Yes | 50 | 94 | 86 | 90 | 84 | 93
30 |  |  | 3 | 50%-90% | 2 | No | 58 | 84 | 86 | 63 | 57 | 67 | Curved suctions Bone cutting such as piezoelectric
36 |  | 2017-07-22 18:00 | 3 | 50%-90% | 1 | Yes | 70 | 100 | 100 | 68 | 68 | 100 |  | 2
37 |  | 2017-07-22 18:31 | 3 | 50%-90% | 1 | Yes | 100 | 100 | 76 | 78 | 79 | 78 |  | 2
38 |  | 2017-07-22 18:33 | 3 | 50%-90% | 2 | No | 50 | 50 | 89 | 96 | 50 | 98 |  | 2
39 |  | 2017-07-23 07:19 | 3 | 50%-90% | 1 | Yes | 100 | 100 | 100 | 49 | 51 | 100 | Overall, I feel that the most frustrating aspect is not being able to reach structures and disease that you can see with the endoscope with currently available instruments. | 2
40 |  | 2017-07-23 08:19 | 3 | 50%-90% | 1 | Yes | 62 | 91 | 61 | 92 | 50 | 96 | At this time in my level of experience, what I would need the most is to have improved curved suctions that are able to reach and aspirate cholesteatoma matrix from difficult areas such as attic and sinus tympani. The Storz curved suctions I have in my set are too flimsy, too thin and too long. A device to suction smoke during laser surgery mounted on the laser tip or separate would be very useful. In regards of cutting bone, I have found the piezoelectric drill quite useful. In regards of bleeding control, I feel that with experience and optimal injection I can manage with intermittently suctioning the field and placing cotton balls. In regards of graft positioning, I manage well with traditional middle ear instruments. | 2
42 |  | 2017-07-23 09:20 | 3 | 50%-90% | 1 | Yes | 71 | 100 | 73 | 100 | 86 | 100 |  | 2 |  |  | endoscope | instrument
43 |  | 2017-07-23 22:32 | 3 | 50%-90% | 1 | Yes | 100 | 86 | 76 | 69 | 60 | 67 | A drill that can remove bone without obscuring vision. An instrument that can remove vascular lesions without causing bleeding! | 2 |  |  | flexible | retractible
45 |  | 2017-07-24 05:12 | 3 | 50%-90% | 1 | Yes | 50 | 100 | 50 | 0 | 100 | 100 |  | 2 |  |  |  | suction elevators to control amount of suction
46 |  |  | 3 | 50%-90% | 2 | No | 99 | 85 | 82 | 83 | 83 | 83 | a scope holder would be one. It would help two handed technique. there has been one developed by Dr Mubarak Khan which removed the microscope head from the stand and adapts it to the endoscope. There has to be a simpler and safer alternative. In fact I do have some ideas that I would be happy to discuss. Another area is the whirlybirds are not long enough to dissect cholesteatomas fro the sinus tympani if it is deep. the instrument needs to be modified. Arun K. Gadre +1 (502) 381 3398 | 2
48 |  |  | 3 | 50%-90% | 1 | Yes | 79 | 77 | 78 | 50 | 79 | 78 |  | 2
50 |  |  | 3 | 50%-90% | 1 | Yes | 98 | 91 | 49 | 50 | 10 | 50 | A mechanic scalpel and/or curette | 2
9 |  | 2017-04-28 09:45 | 4 | More than 90% | 1 | Yes | 99 | 100 | 100 | 100 | 99 | 100 |  | 2
14 |  | 2017-04-29 18:13 | 4 | More than 90% | 1 | Yes | 64 | 90 | 99 | 76 | 50 | 90 | EES bipolar with suction. Endo pen is too wide. Bayonet bipolars do not open. | 2
16 |  | 2017-05-06 12:55 | 4 | More than 90% | 1 | Yes | 92 | 99 | 61 | 87 | 83 | 92 | Disposable curved and angled suckers. With the current multiuse suction devices, our sterile services department refuse to clean them due to the very narrow lumen. Therefore cost-effective disposable instruments would be great. | 2
25 |  |  | 4 | More than 90% | 2 | No | 96 | 91 | 49 | 95 | 96 | 67
26 |  |  | 4 | More than 90% | 2 | No | 30 | 99 | 99 | 51 | 100 | 100
28 |  |  | 4 | More than 90% | 1 | Yes | 48 | 98 | 5 | 50 | 98 | 98
32 |  |  | 4 | More than 90% | 1 | Yes | 97 | 66 | 15 | 68 | 28 | 75 | =- instruments bended and longer to reach easily supratubal recess or deep sinus tympani - curved ronded Knife for better incision of the skin in the first step of any Middle Ear Surgery
35 |  | 2017-07-22 16:38 | 4 | More than 90% | 1 | Yes | 98 | 99 | 85 | 77 | 99 | 53 | suctions with differet angles to facilitate suction of cholesteatomatous matrix at differet sites and a tool for dissection and suction at the same time | 2
47 |  |  | 4 | More than 90% | 1 | Yes | 100 | 100 | 100 | 74 | 74 | 100 |  | 2
49 |  |  | 4 | More than 90% | 1 | Yes | 50 | 75 | 93 | 88 | 84 | 61 |  | 2
1 |  | 2017-04-03 14:32 | 2 | Up to 50% | 1 | Yes | 76 | 76 | 64 | 77 | 68 | 72 |  | 2
3 |  | 2017-04-25 08:12 | 2 | Up to 50% | 1 | Yes | 86 | 90 | 61 | 62 | 73 | 65 |  | 2
4 |  | 2017-04-26 11:56 | 2 | Up to 50% | 1 | Yes | 50 | 50 | 50 | 7 | 7 | 50 |  | 2
5 |  | 2017-04-26 11:57 | 2 | Up to 50% | 1 | Yes | 20 | 36 | 51 | 52 | 28 | 26 |  | 2
6 |  | 2017-04-27 09:48 | 2 | Up to 50% | 1 | Yes | 64 | 91 | 69 | 43 | 23 | 92 |  | 2
10 |  | 2017-04-28 09:46 | 2 | Up to 50% | 1 | Yes | 19 | 67 | 71 | 33 | 50 | 75 |  | 2
12 |  | 2017-04-28 10:54 | 2 | Up to 50% | 2 | No | 78 | 94 | 71 | 92 | 91 | 86 | Wondering about adapting flexible endoscope with working port to use in ear surgery? | 2
13 |  | 2017-04-29 04:08 | 2 | Up to 50% | 1 | Yes | 50 | 94 | 92 | 5 | 5 | 96 | There is a need for an instrument to reach disease in the mastoid through the canal, keeping the instrument size the same as they are now; may be look at a retractible instrument? | 2
17 |  |  | 2 | Up to 50% | 1 | Yes | 95 | 89 | 50 | 95 | 50 | 50 |  | 2
21 |  |  | 2 | Up to 50% | 1 | Yes | 100 | 100 | 100 | 100 | 69 | 81
27 |  |  | 2 | Up to 50% | 1 | Yes | 50 | 50 | 100 | 100 | 50 | 100 | Combined suction and blunt dissectors.
29 |  |  | 2 | Up to 50% | 1 | Yes | 79 | 49 | 57 | 4 | 5 | 71 | =- cleansing lens continuously - feasible holder* *assuming endoscope holder
31 |  |  | 2 | Up to 50% | 1 | Yes | 37 | 41 | 57 | 29 | 28 | 61
33 |  |  | 2 | Up to 50% | 2 | No | 50 | 64 | 66 | 58 | 82 | 64
41 |  | 2017-07-23 09:19 | 2 | Up to 50% | 2 | No | 72 | 96 | 50 | 51 | 53 | 100 |  | 2
51 |  |  | 2 | Up to 50% | 1 | Yes | 23 | 64 | 32 | 6 | 27 | 16 | suction specifically designed for sinus tympani I use a green light laser. with the safety goggles on and the endoscope its very hard to see the guide light. I usually do this under the microscope | 2
mean | [6 empty] | 66.3333 | 82.6667 | 67.1961 | 60.451 | 58.5294 | 76.8627
median | [6 empty] | 64 | 90 | 66 | 63 | 56 | 81
std dev | [6 empty] | 25.6122 | 19.0112 | 22.2792 | 29.3389 | 27.6263 | 21.4243
std error | [6 empty] | 3.5864 | 2.6621 | 3.1197 | 4.1083 | 3.8685 | 3
0 median | [6 empty] | 78 | 91 | 71 | 69 | 73 | 83
up to 50 median | [6 empty] | 64 | 90 | 66 | 63 | 56 | 81
50-90 median | [6 empty] | 68 | 91 | 69 | 67 | 57 | 81
more than 90 median | [6 empty] | 70 | 91 | 71 | 68 | 60 | 81
interquartile range |  | https://www.ncbi.nlm.nih.gov/pmc/articles/PMC137399/ |  |  |  |  | 50-92 | 75-99 | 50.5-86 | 49.5-88.5 | 49.5-83 | 65-98

## Sheet1
Bleeding Control | Reaching Structures | Cutting Bone | Keeping the Lens Clean | Positioning a Graft | Dissection and Removal of Cholesteatoma |  | Reaching Structures | 82.8776 | 2.6852
66.5714 | 82.8776 | 68.2857 | 61.54 | 60.1633 | 78.08 |  | Dissection and Removal of Cholesteatoma | 78.08 | 2.7698
3.4958 | 2.6852 | 3.0778 | 4.0015 | 3.7639 | 2.7698 |  | Cutting Bone | 68.2857 | 3.0778
[7 empty] | Bleeding Control | 66.5714 | 3.4958
[7 empty] | Keeping the Lens Clean | 61.54 | 4.0015
[7 empty] | Positioning a Graft | 60.1633 | 3.7639
| Bleeding Control | Reaching Structures | Cutting Bone | Keeping the Lens Clean | Positioning a Graft | Dissection and Removal of Cholesteatoma |  | Reaching Structures | 90 | 75-99
| 64 | 90 | 66 | 63 | 56 | 81 |  | Dissection and Removal of Cholesteatoma | 81 | 65-98
[8 empty] | Cutting Bone | 66 | 50.5-86
[8 empty] | Bleeding Control | 64 | 50-92
[8 empty] | Keeping the Lens Clean | 63 | 49.5-88.5
[8 empty] | Positioning a Graft | 56 | 49.5-83
| Bleeding Control | Reaching Structures | Cutting Bone | Keeping the Lens Clean | Positioning a Graft | Dissection and Removal of Cholesteatoma

## Sheet2
Challenge | Degree of Need
1 Reaching Structures | 76
1 Reaching Structures | 83
1 Reaching Structures | 90
1 Reaching Structures | 50
1 Reaching Structures | 36
1 Reaching Structures | 91
1 Reaching Structures | 93
1 Reaching Structures | 40
1 Reaching Structures | 100
1 Reaching Structures | 67
1 Reaching Structures | 98
1 Reaching Structures | 94
1 Reaching Structures | 94
1 Reaching Structures | 90
1 Reaching Structures | 85
1 Reaching Structures | 99
1 Reaching Structures | 89
1 Reaching Structures | 50
1 Reaching Structures | 86
1 Reaching Structures | 100
1 Reaching Structures | 100
1 Reaching Structures | 88
1 Reaching Structures | 100
1 Reaching Structures | 94
1 Reaching Structures | 91
1 Reaching Structures | 99
1 Reaching Structures | 50
1 Reaching Structures | 98
1 Reaching Structures | 49
1 Reaching Structures | 84
1 Reaching Structures | 41
1 Reaching Structures | 66
1 Reaching Structures | 64
1 Reaching Structures | 92
1 Reaching Structures | 99
1 Reaching Structures | 100
1 Reaching Structures | 100
1 Reaching Structures | 50
1 Reaching Structures | 100
1 Reaching Structures | 91
1 Reaching Structures | 96
1 Reaching Structures | 100
1 Reaching Structures | 86
1 Reaching Structures | 75
1 Reaching Structures | 100
1 Reaching Structures | 85
1 Reaching Structures | 100
1 Reaching Structures | 77
1 Reaching Structures | 75
1 Reaching Structures | 91
1 Reaching Structures | 64
2 Dissection and Removal of Cholesteatoma | 72
2 Dissection and Removal of Cholesteatoma | 100
2 Dissection and Removal of Cholesteatoma | 65
2 Dissection and Removal of Cholesteatoma | 50
2 Dissection and Removal of Cholesteatoma | 26
2 Dissection and Removal of Cholesteatoma | 92
2 Dissection and Removal of Cholesteatoma | 69
2 Dissection and Removal of Cholesteatoma | 41
2 Dissection and Removal of Cholesteatoma | 100
2 Dissection and Removal of Cholesteatoma | 75
2 Dissection and Removal of Cholesteatoma | 84
2 Dissection and Removal of Cholesteatoma | 86
2 Dissection and Removal of Cholesteatoma | 96
2 Dissection and Removal of Cholesteatoma | 90
2 Dissection and Removal of Cholesteatoma | 81
2 Dissection and Removal of Cholesteatoma | 92
2 Dissection and Removal of Cholesteatoma | 50
2 Dissection and Removal of Cholesteatoma | 50
2 Dissection and Removal of Cholesteatoma | 51
2 Dissection and Removal of Cholesteatoma | 100
2 Dissection and Removal of Cholesteatoma | 81
2 Dissection and Removal of Cholesteatoma | 91
2 Dissection and Removal of Cholesteatoma | 65
2 Dissection and Removal of Cholesteatoma | 93
2 Dissection and Removal of Cholesteatoma | 67
2 Dissection and Removal of Cholesteatoma | 100
2 Dissection and Removal of Cholesteatoma | 100
2 Dissection and Removal of Cholesteatoma | 98
2 Dissection and Removal of Cholesteatoma | 71
2 Dissection and Removal of Cholesteatoma | 67
2 Dissection and Removal of Cholesteatoma | 61
2 Dissection and Removal of Cholesteatoma | 75
2 Dissection and Removal of Cholesteatoma | 64
2 Dissection and Removal of Cholesteatoma | 90
2 Dissection and Removal of Cholesteatoma | 53
2 Dissection and Removal of Cholesteatoma | 100
2 Dissection and Removal of Cholesteatoma | 78
2 Dissection and Removal of Cholesteatoma | 98
2 Dissection and Removal of Cholesteatoma | 100
2 Dissection and Removal of Cholesteatoma | 96
2 Dissection and Removal of Cholesteatoma | 100
2 Dissection and Removal of Cholesteatoma | 100
2 Dissection and Removal of Cholesteatoma | 67
2 Dissection and Removal of Cholesteatoma | 47
2 Dissection and Removal of Cholesteatoma | 100
2 Dissection and Removal of Cholesteatoma | 83
2 Dissection and Removal of Cholesteatoma | 100
2 Dissection and Removal of Cholesteatoma | 78
2 Dissection and Removal of Cholesteatoma | 61
2 Dissection and Removal of Cholesteatoma | 50
2 Dissection and Removal of Cholesteatoma | 16
3 Cutting Bone | 64
3 Cutting Bone | 62
3 Cutting Bone | 61
3 Cutting Bone | 50
3 Cutting Bone | 51
3 Cutting Bone | 69
3 Cutting Bone | 69
3 Cutting Bone | 70
3 Cutting Bone | 100
3 Cutting Bone | 71
3 Cutting Bone | 77
3 Cutting Bone | 71
3 Cutting Bone | 92
3 Cutting Bone | 99
3 Cutting Bone | 50
3 Cutting Bone | 61
3 Cutting Bone | 50
3 Cutting Bone | 50
3 Cutting Bone | 52
3 Cutting Bone | 50
3 Cutting Bone | 100
3 Cutting Bone | 41
3 Cutting Bone | 52
3 Cutting Bone | 86
3 Cutting Bone | 49
3 Cutting Bone | 99
3 Cutting Bone | 100
3 Cutting Bone | 5
3 Cutting Bone | 57
3 Cutting Bone | 86
3 Cutting Bone | 57
3 Cutting Bone | 15
3 Cutting Bone | 66
3 Cutting Bone | 50
3 Cutting Bone | 85
3 Cutting Bone | 100
3 Cutting Bone | 76
3 Cutting Bone | 89
3 Cutting Bone | 100
3 Cutting Bone | 61
3 Cutting Bone | 50
3 Cutting Bone | 73
3 Cutting Bone | 76
3 Cutting Bone | 51
3 Cutting Bone | 50
3 Cutting Bone | 82
3 Cutting Bone | 100
3 Cutting Bone | 78
3 Cutting Bone | 93
3 Cutting Bone | 49
3 Cutting Bone | 32
4 Bleeding Control | 76
4 Bleeding Control | 53
4 Bleeding Control | 86
4 Bleeding Control | 50
4 Bleeding Control | 20
4 Bleeding Control | 64
4 Bleeding Control | 83
4 Bleeding Control | 58
4 Bleeding Control | 99
4 Bleeding Control | 19
4 Bleeding Control | 24
4 Bleeding Control | 78
4 Bleeding Control | 50
4 Bleeding Control | 64
4 Bleeding Control | 50
4 Bleeding Control | 92
4 Bleeding Control | 95
4 Bleeding Control | 50
4 Bleeding Control | 8
4 Bleeding Control | 50
4 Bleeding Control | 100
4 Bleeding Control | 68
4 Bleeding Control | 84
4 Bleeding Control | 50
4 Bleeding Control | 96
4 Bleeding Control | 30
4 Bleeding Control | 50
4 Bleeding Control | 48
4 Bleeding Control | 79
4 Bleeding Control | 58
4 Bleeding Control | 37
4 Bleeding Control | 97
4 Bleeding Control | 50
4 Bleeding Control | 92
4 Bleeding Control | 98
4 Bleeding Control | 70
4 Bleeding Control | 100
4 Bleeding Control | 50
4 Bleeding Control | 100
4 Bleeding Control | 62
4 Bleeding Control | 72
4 Bleeding Control | 71
4 Bleeding Control | 100
4 Bleeding Control | 53
4 Bleeding Control | 50
4 Bleeding Control | 99
4 Bleeding Control | 100
4 Bleeding Control | 79
4 Bleeding Control | 50
4 Bleeding Control | 98
4 Bleeding Control | 23
5 Keeping the Lens Clean | 77
5 Keeping the Lens Clean | 72
5 Keeping the Lens Clean | 62
5 Keeping the Lens Clean | 7
5 Keeping the Lens Clean | 52
5 Keeping the Lens Clean | 43
5 Keeping the Lens Clean | 50
5 Keeping the Lens Clean | 67
5 Keeping the Lens Clean | 100
5 Keeping the Lens Clean | 33
5 Keeping the Lens Clean | 41
5 Keeping the Lens Clean | 92
5 Keeping the Lens Clean | 5
5 Keeping the Lens Clean | 76
5 Keeping the Lens Clean | 35
5 Keeping the Lens Clean | 87
5 Keeping the Lens Clean | 95
5 Keeping the Lens Clean | 50
5 Keeping the Lens Clean | 11
5 Keeping the Lens Clean | 50
5 Keeping the Lens Clean | 100
5 Keeping the Lens Clean | 10
5 Keeping the Lens Clean | 89
5 Keeping the Lens Clean | 90
5 Keeping the Lens Clean | 95
5 Keeping the Lens Clean | 51
5 Keeping the Lens Clean | 100
5 Keeping the Lens Clean | 50
5 Keeping the Lens Clean | 4
5 Keeping the Lens Clean | 63
5 Keeping the Lens Clean | 29
5 Keeping the Lens Clean | 68
5 Keeping the Lens Clean | 58
5 Keeping the Lens Clean | 90
5 Keeping the Lens Clean | 77
5 Keeping the Lens Clean | 68
5 Keeping the Lens Clean | 78
5 Keeping the Lens Clean | 96
5 Keeping the Lens Clean | 49
5 Keeping the Lens Clean | 92
5 Keeping the Lens Clean | 51
5 Keeping the Lens Clean | 100
5 Keeping the Lens Clean | 69
5 Keeping the Lens Clean | 50
5 Keeping the Lens Clean | 0
5 Keeping the Lens Clean | 83
5 Keeping the Lens Clean | 74
5 Keeping the Lens Clean | 50
5 Keeping the Lens Clean | 88
5 Keeping the Lens Clean | 50
5 Keeping the Lens Clean | 6
6 Positioning a Graft | 68
6 Positioning a Graft | 93
6 Positioning a Graft | 73
6 Positioning a Graft | 7
6 Positioning a Graft | 28
6 Positioning a Graft | 23
6 Positioning a Graft | 57
6 Positioning a Graft | 56
6 Positioning a Graft | 99
6 Positioning a Graft | 50
6 Positioning a Graft | 69
6 Positioning a Graft | 91
6 Positioning a Graft | 5
6 Positioning a Graft | 50
6 Positioning a Graft | 36
6 Positioning a Graft | 83
6 Positioning a Graft | 50
6 Positioning a Graft | 50
6 Positioning a Graft | 49
6 Positioning a Graft | 0
6 Positioning a Graft | 69
6 Positioning a Graft | 49
6 Positioning a Graft | 50
6 Positioning a Graft | 84
6 Positioning a Graft | 96
6 Positioning a Graft | 100
6 Positioning a Graft | 50
6 Positioning a Graft | 98
6 Positioning a Graft | 5
6 Positioning a Graft | 57
6 Positioning a Graft | 28
6 Positioning a Graft | 28
6 Positioning a Graft | 82
6 Positioning a Graft | 50
6 Positioning a Graft | 99
6 Positioning a Graft | 68
6 Positioning a Graft | 79
6 Positioning a Graft | 50
6 Positioning a Graft | 51
6 Positioning a Graft | 50
6 Positioning a Graft | 53
6 Positioning a Graft | 86
6 Positioning a Graft | 60
6 Positioning a Graft | 49
6 Positioning a Graft | 100
6 Positioning a Graft | 83
6 Positioning a Graft | 74
6 Positioning a Graft | 79
6 Positioning a Graft | 84
6 Positioning a Graft | 10
6 Positioning a Graft | 27

## Sheet3
Challenge | Experience | Need
Bleeding Control | 0 | 50
Bleeding Control | 0 | 8
Bleeding Control | 0 | 92
Bleeding Control | 0 | 53
Bleeding Control | 50%-90% | 53
Bleeding Control | 50%-90% | 83
Bleeding Control | 50%-90% | 58
Bleeding Control | 50%-90% | 24
Bleeding Control | 50%-90% | 50
Bleeding Control | 50%-90% | 50
Bleeding Control | 50%-90% | 68
Bleeding Control | 50%-90% | 84
Bleeding Control | 50%-90% | 50
Bleeding Control | 50%-90% | 58
Bleeding Control | 50%-90% | 70
Bleeding Control | 50%-90% | 100
Bleeding Control | 50%-90% | 50
Bleeding Control | 50%-90% | 100
Bleeding Control | 50%-90% | 62
Bleeding Control | 50%-90% | 71
Bleeding Control | 50%-90% | 100
Bleeding Control | 50%-90% | 50
Bleeding Control | 50%-90% | 99
Bleeding Control | 50%-90% | 79
Bleeding Control | 50%-90% | 98
Bleeding Control | More than 90% | 99
Bleeding Control | More than 90% | 64
Bleeding Control | More than 90% | 92
Bleeding Control | More than 90% | 96
Bleeding Control | More than 90% | 30
Bleeding Control | More than 90% | 48
Bleeding Control | More than 90% | 97
Bleeding Control | More than 90% | 98
Bleeding Control | More than 90% | 100
Bleeding Control | More than 90% | 50
Bleeding Control | Up to 50% | 76
Bleeding Control | Up to 50% | 86
Bleeding Control | Up to 50% | 50
Bleeding Control | Up to 50% | 20
Bleeding Control | Up to 50% | 64
Bleeding Control | Up to 50% | 19
Bleeding Control | Up to 50% | 78
Bleeding Control | Up to 50% | 50
Bleeding Control | Up to 50% | 95
Bleeding Control | Up to 50% | 100
Bleeding Control | Up to 50% | 50
Bleeding Control | Up to 50% | 79
Bleeding Control | Up to 50% | 37
Bleeding Control | Up to 50% | 50
Bleeding Control | Up to 50% | 72
Bleeding Control | Up to 50% | 23
Reaching Structures | 0 | 50
Reaching Structures | 0 | 86
Reaching Structures | 0 | 92
Reaching Structures | 0 | 75
Reaching Structures | 50%-90% | 83
Reaching Structures | 50%-90% | 93
Reaching Structures | 50%-90% | 40
Reaching Structures | 50%-90% | 98
Reaching Structures | 50%-90% | 85
Reaching Structures | 50%-90% | 100
Reaching Structures | 50%-90% | 88
Reaching Structures | 50%-90% | 100
Reaching Structures | 50%-90% | 94
Reaching Structures | 50%-90% | 84
Reaching Structures | 50%-90% | 100
Reaching Structures | 50%-90% | 100
Reaching Structures | 50%-90% | 50
Reaching Structures | 50%-90% | 100
Reaching Structures | 50%-90% | 91
Reaching Structures | 50%-90% | 100
Reaching Structures | 50%-90% | 86
Reaching Structures | 50%-90% | 100
Reaching Structures | 50%-90% | 85
Reaching Structures | 50%-90% | 77
Reaching Structures | 50%-90% | 91
Reaching Structures | More than 90% | 100
Reaching Structures | More than 90% | 90
Reaching Structures | More than 90% | 99
Reaching Structures | More than 90% | 91
Reaching Structures | More than 90% | 99
Reaching Structures | More than 90% | 98
Reaching Structures | More than 90% | 66
Reaching Structures | More than 90% | 99
Reaching Structures | More than 90% | 100
Reaching Structures | More than 90% | 75
Reaching Structures | Up to 50% | 76
Reaching Structures | Up to 50% | 90
Reaching Structures | Up to 50% | 50
Reaching Structures | Up to 50% | 36
Reaching Structures | Up to 50% | 91
Reaching Structures | Up to 50% | 67
Reaching Structures | Up to 50% | 94
Reaching Structures | Up to 50% | 94
Reaching Structures | Up to 50% | 89
Reaching Structures | Up to 50% | 100
Reaching Structures | Up to 50% | 50
Reaching Structures | Up to 50% | 49
Reaching Structures | Up to 50% | 41
Reaching Structures | Up to 50% | 64
Reaching Structures | Up to 50% | 96
Reaching Structures | Up to 50% | 64
Cutting Bone | 0 | 50
Cutting Bone | 0 | 52
Cutting Bone | 0 | 50
Cutting Bone | 0 | 51
Cutting Bone | 50%-90% | 62
Cutting Bone | 50%-90% | 69
Cutting Bone | 50%-90% | 70
Cutting Bone | 50%-90% | 77
Cutting Bone | 50%-90% | 50
Cutting Bone | 50%-90% | 50
Cutting Bone | 50%-90% | 41
Cutting Bone | 50%-90% | 52
Cutting Bone | 50%-90% | 86
Cutting Bone | 50%-90% | 86
Cutting Bone | 50%-90% | 100
Cutting Bone | 50%-90% | 76
Cutting Bone | 50%-90% | 89
Cutting Bone | 50%-90% | 100
Cutting Bone | 50%-90% | 61
Cutting Bone | 50%-90% | 73
Cutting Bone | 50%-90% | 76
Cutting Bone | 50%-90% | 50
Cutting Bone | 50%-90% | 82
Cutting Bone | 50%-90% | 78
Cutting Bone | 50%-90% | 49
Cutting Bone | More than 90% | 100
Cutting Bone | More than 90% | 99
Cutting Bone | More than 90% | 61
Cutting Bone | More than 90% | 49
Cutting Bone | More than 90% | 99
Cutting Bone | More than 90% | 5
Cutting Bone | More than 90% | 15
Cutting Bone | More than 90% | 85
Cutting Bone | More than 90% | 100
Cutting Bone | More than 90% | 93
Cutting Bone | Up to 50% | 64
Cutting Bone | Up to 50% | 61
Cutting Bone | Up to 50% | 50
Cutting Bone | Up to 50% | 51
Cutting Bone | Up to 50% | 69
Cutting Bone | Up to 50% | 71
Cutting Bone | Up to 50% | 71
Cutting Bone | Up to 50% | 92
Cutting Bone | Up to 50% | 50
Cutting Bone | Up to 50% | 100
Cutting Bone | Up to 50% | 100
Cutting Bone | Up to 50% | 57
Cutting Bone | Up to 50% | 57
Cutting Bone | Up to 50% | 66
Cutting Bone | Up to 50% | 50
Cutting Bone | Up to 50% | 32