## Sheet1
Instrument Validation Survey:
Study ID: | Training Status: | Number of Years in Surgical Practice: | Left or Right Handed | Surgical Glove Size | Total No. of Endoscopic cases performed as primary or assistant surgeon | Percentage of cases performed totally endosocopically | Instrument Form |  |  |  | Instrument Operation - Mental Effort | [7 empty] | Instrument Operation - Performance and Safety | [5 empty] | Instrument Operation - Functionality | [5 empty] | Instrument Operation - Comfort |  |  |  | 3D Printed Ear Model
[7 empty] | appropriate weight | handle is appropriate size | wrist is appropriate size | comments: | Understanding how instrument works is intuitive | effort to perform tasks using the instrument is minimal | bending the tip of the instrument requires minimal effort | the bend/curvature of the tip is useful to reach target structures | dissecting tissue without bending the wrist was not difficult | dissecting tissue while bending the wrist was not difficult | the forces applied by the instrument on the tissue were appropriate | Comments: | instrument performed as expected | instrument tip moved accurately | instrument was responsive | instrument tip moved smoothly | instrument did not block the field-of-view of the endoscope | comments: | instrument can reach all the spaces in the field-of-view necessary to perform the task | instrument could be used to control bleeding | instrument can be used to move and position a graft into the intended place | instrument can be used to dissect and remove cholesteatoma | instrument with the laser fibre can be used to direct laser energy in the desirable direction | comments: | instrument is comfortable in my hand | force required to operate the instrument was appropriate | operating the instrument will not likely cause hand fatigue | comments: | 3D printed ear model is accurate | regions of interest were located in the correct spot | regions of interest were easy to locate with the endoscope
001 | resident | 3 | right | 6.5 | 10-50 | Up to 50% | 5 | 5 | 5 | adapt scroll on different directions so as when we move our hand or the position of the instrument it may change and it is easy to use | 5 | 5 | 5 | 5 | 4 | 4 | 5 |  | 5 | 5 | 5 | 5 | 5 |  | 4 | 5 | 5 | 5 | 5 |  | 5 | 5 | 5 | it may come in different sizes
002 | ENT | 1 | right | 6 | 0-10 | Up to 50% | 3 | 3 | 4 |  | 4 | 5 | 4 | 4 | 5 | 5 | 3 |  | 4 | 4 | 4 | 3 | 4 |  | 3 | 4 | 4 | 4 | N/A |  | 4 | 4 | 4
003 | fellow | 8 | right | 6.5 | 10-50 | Up to 50% | 5 | 5 | 4 | it will be nice to be able to keep the bending of the tip in position without having to hold it (have in the handle a secure?) | 4 | 4 | 4 | 4 | 1 | 2 | 4 | the tip of the instrument bends really easy, is too fragile and was damaged really easily without applying a lot of pressure | 4 | 4 | 4 | 4 | 4 |  | 4 | 3 | 3 | 5 | 5 | different angles of the bending might be useful and have fibres that bend in a diferent site to have different lengths | 5 | 4 | 5
004 | staff | 32 | right | 7.5 | >100 | 50-90% | 5 | 5 | 5 |  | 5 | 4 | 3 | 4 | 4 | 5 | 5 |  | 3 | 4 | 4 | 3 | 5 |  | 4 | 3 | 4 | 4 | 4 |  | 4 | 3 | 4
005 | staff | 8 | right | 7.5 | >100 | 50-90% | 4 | 3 | 4 | felt a little bulky | 4 | 4 | 4 | 4 | did not dissect with it |  |  |  | 4 | 4 | 4 | 4 | 4 |  | 4 | 2 | 4 | 2 | 4 |  | 3 | 4 | 4 |  | did not try
006 | resident | 6 | right | 6.5 | 10-50 | Up to 50% | 4 | 3 | 3 | it could be slightly larger | 4 | 3 | 5 | 4 | N/A |  |  | it is somewhat difficult to turn | 3 | 4 | 4 | 4 | N/A |  | 4 | 3 | 4 | 5 | 4 |  | 5 | 5 | 3 | it may cause fatigue to have to bend the tip - maybe add a lock?
007 | staff | 20 | left | 8 | 0-10 | 0% | 4 | 4 | 4 |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 |  | 4 | 4 | 5 | 5 | 4 |  | 4 | 4 | 4 | 4 | 4 |  | 5 | 5 | 5
008 | fellow | 6 | right | 7 | 10-50 | 50-90% | 5 | 5 | 5 |  | 5 | 4 | 4 | 5 | 3 | 3 | 4 | angled tip may be better for dissection | 5 | 5 | 5 | 5 | 4 | tip was slightly thick but otherwise easy to maneuvre | 5 | 3 | 3 | 3 | 5 | andlged tip may solve this dissection issue | 5 | 5 | 4 | maybe a locking/ratchet mechanism for preventing finger fatigue
009 | resident | PGY13 | right | 7.5 | 0-10 | 0% | 4 | 4 | 4 | handle could do with some ridges or serrations to improve grip | 4 | 4 | 4 | 5 | 4 | 4 | 4 |  | 4 | 4 | 4 | 4 | 4 |  | 5 | 3 | 4 | 4 | 5 |  | 4 | 4 | 3 |  | 2 | 3 | 3 | the model with the facial nerve was most accurate
010 | resident | 4 | right | 7 | 0-10 | 0% | 4 | 4 | 3 | finger trigger ergonomics might need to be further refined to precent fatigue | 4 | 2 | 2 | 3 | 4 | 2 | 2 |  | 4 | 4 | 3 | 3 | 4 |  | 3 | 3 | 3 | 2 | 3 | tremor in laser application may be a concern | 4 | 3 | 1 | trigger finger design might need to be refined